## Slide 1: High Temperature Condensation Particle Counter (CPC)
Jeng K. Rongchai
kr298@cam.ac.uk
FETE Conference
21 July 2011

## Slide 2: Outline
Background, Motivations & Objectives
Modelling
Experiment
Conclusions

## Slide 3: Airborne Particles
Fine dust particles
Smoke particles
Atmospheric aerosols
Soot particles
Size ranges from
a few nanometres to a few microns

## Slide 4: Condensation Particle Counter
CPC
CPC
CPC
CPC measures NUMBER concentration of aerosols particles.

## Slide 5: Typical CPC
Detector
Condenser
(10 ˚C)
Saturator
(35 ˚C)
Nanoparticles
Sample
Filtered air
Light source
Optical Counter
Butanol
Detector Signal
Pump
Optical Trap

## Slide 6: Typical CPC
Detector
Nanoparticles
Sample
Filtered air
Light source
Detector Signal
Condenser
(10 ˚C)
Saturator
(35 ˚C)
Butanol

## Slide 7: CPC : Limitations
CPC
150 °C
35 °C
Cooling
Complexity
Slow time
response
Cost
may affect
particles’ morphology and Concentration

## Slide 8: Motivation : High Temp CPC
CPC
High Temp
Cooling
150 °C
could improve/replace the regulated particles measurement systems

## Slide 9: Objectives
Condenser
Saturator
Exhaust particles
Theoretical model
Fast time response
Design & Build low-temp Butanol CPC
High-Temp CPC
~ 200 °C

## Slide 10: Modelling
COLD
COLD
Saturated Vapour-laden Hot uniform flow
Heat
Mass
Hot
Dv < α

## Slide 11: Particles growth Activation
Condenser Wall
Condenser Wall
S=1
S=1.5
S =2
S =2.5
diameter dk
Kelvin’s Equation

## Slide 12: Choice of Liquid
Saturator ~210°C
190 °C
Mass diffusivity in air (Dv ) = 0.063 cm2/s
Air Thermal diffusivity (α) = 0.51 cm2/s
Non-toxic
High Boiling point ~350°C
Liquid @ room temperature
Di-ethylhexyl Sebacate (DEHS)
DEHS
Dv < α

## Slide 13: Saturation ratio
190°C
190°C
210 °C
210 °C
DEHS Saturated
uniform flow
1.5
1
2
2.2

## Slide 14: Into Practice : Low-Temp Butanol CPC
Saturator
Condenser
Optical Counter
Aerosol inlet
Filtered air inlet
Time(s)
mV
Filtered air
Ambient particles
Step increase in particle concentration

## Slide 15: Transient Measurement
Time (s)
Particles
T10-90 ~ 50ms
< common CPCs* ~ 170 ms
* TSI 3025
Will be the same for high temperature

## Slide 16: Conclusions
Low-Temp Butanol CPC built from scratch
Fast Time response (50 ms) was observed
Promising simulations for DEHS high-Temp CPC
Next step : Test DEHS CPC
If successful, could change the current regulated exhaust particles measurement system.

## Slide 17: THANK YOU

## Slide 18: THANK YOU

## Slide 19: Condensation - Nucleation Theory
Homogeneous Nucleation - in highly saturated condition
Heterogeneous Nucleation – exotic particles present
Equilibrium
diameter
Equilibrium
diameter
Vapour
Vapour

## Slide 20
COLD
COLD
Saturated Vapour-laden Hot uniform flow
Hot
Velocity Profile

## Slide 21: Particle size that can be activitated
190°C
190°C
210 °C
210 °C
DEHS Saturated
uniform flow
13nm
10nm
8nm

## Slide 22: Importance
Policy making
Pollution
Health Effects
Car engine exhaust

## Slide 23: Modelling
Saturated Vapour-laden Hot uniform flow
Supersaturated Region
Condenser Wall
Condenser Wall